**Walla Walla Public Schools**

**Summary Sheet**

**Asbestos Containing Materials (Listed by School)**

** Berney Elementary School**

1718 Pleasant Street

 **** Cement asbestos board (CAB) on soffits and eaves

 **** Floor tile adhesives only (12’ x 12’ are non ACM)

 **** Boiler gaskets

** Blue Ridge Elementary School**

1150 West Chestnut Street

 **** Adhesive associated with vinyl floor tile

** Edison Elementary School**

1315 East Alder

 Built in 2009

 **** No asbestos

** Green Park Elementary School**

1105 Isaacs

**** Asbestos containing building material (ACBM) under roof soffits in

1905 building

 **** No asbestos in 1995 building

** Lincoln Alternative**

421 South 4th Street

 **** Boiler insulation and TSI piping the boiler room

 **** 9” x 9” floor tiles and mastic

 **** 12” x 12” floor tiles and mastic

 **** TSI piping insulation and fittings throughout basement area, gymnasium

 **** Cement asbestos board (CAB) on exterior of windows – limited areas

** Prospect Point Elementary School**55 Reser Road
 **** TSI fittings on plumbing located by under counter HW heaters

 **** Thermal system insulation on joints, elbows, and tees

 ** Sharpstein Elementary School**410 Howard
 **** Felt paper between wooden floors, 2nd and 3rd floors, in the west

 section (1904 building)

 **** Vermiculite insulation in ceiling and between floors
 **** Built-up roofing in attic spaces

 ** Garrison Middle School**

906 Chase

 **** TSI piping insulation not accessible inside wall cavities

 **** Fire door in boiler room

** Pioneer Middle School**

450 Bridge

 **** Possible abandoned TSI in tunnel systems **** Cement asbestos board on exterior door panel

** Walla Walla High School**

800 Abbott

 **** 9” x 9” VAT floor tiles and mastic throughout 1964 buildings

 **** Hot water tank wrap in Commons Building

 **** Mudded fittings on piping from HW tank

 **** 2’ x 4’ suspended ceiling tile panels in Commons Building.

 **** Hot water tank wrap in small gym

 **** 12 x 12 Vinyl floor tile and adhesive

 **** Cement asbestos board

 **** Thermal system insulation on blast furnaces

* **Opportunity Program**

1917 E Isaacs

 **** Cement asbestos board on ceiling throughout

** District Administrative Building**

364 South Park

 Built in 1985

 **** No asbestos

** Support Services Building**

1174 Entley Street

 Built in 2011

 **** No asbestos

** Transportation Co-Op Building**

1162 Entley Street

 Built in 2010

 **** No asbestos