**Walla Walla Public Schools**

**Summary Sheet**

**Asbestos Containing Materials (Listed by School)**

**BD10300_ Berney Elementary School**

1718 Pleasant Street

**BD15022_** Cement asbestos board (CAB) on soffits and eaves

**BD15022_** Floor tile adhesives only (12’ x 12’ are non ACM)

**BD15022_** Boiler gaskets

**BD10300_ Blue Ridge Elementary School**

1150 West Chestnut Street

**BD15022_** Adhesive associated with vinyl floor tile

**BD10300_ Edison Elementary School**

1315 East Alder

Built in 2009

**BD15022_** No asbestos

**BD10300_ Green Park Elementary School**

1105 Isaacs

**BD15022_** Asbestos containing building material (ACBM) under roof soffits in

1905 building

**BD15022_** No asbestos in 1995 building

**BD10300_ Lincoln Alternative**

421 South 4th Street

**BD15022_** Boiler insulation and TSI piping the boiler room

**BD15022_** 9” x 9” floor tiles and mastic

**BD15022_** 12” x 12” floor tiles and mastic

**BD15022_** TSI piping insulation and fittings throughout basement area, gymnasium

**BD15022_** Cement asbestos board (CAB) on exterior of windows – limited areas

**BD10300_ Prospect Point Elementary School**55 Reser Road  
 **BD15022_** TSI fittings on plumbing located by under counter HW heaters

**BD15022_** Thermal system insulation on joints, elbows, and tees

**BD10300_ Sharpstein Elementary School**410 Howard  
 **BD15022_** Felt paper between wooden floors, 2nd and 3rd floors, in the west

section (1904 building)

**BD15022_** Vermiculite insulation in ceiling and between floors  
 **BD15022_** Built-up roofing in attic spaces

**BD10300_ Garrison Middle School**

906 Chase

**BD15022_** TSI piping insulation not accessible inside wall cavities

**BD15022_** Fire door in boiler room

**BD10300_ Pioneer Middle School**

450 Bridge

**BD15022_** Possible abandoned TSI in tunnel systems **BD15022_** Cement asbestos board on exterior door panel

**BD10300_ Walla Walla High School**

800 Abbott

**BD15022_** 9” x 9” VAT floor tiles and mastic throughout 1964 buildings

**BD15022_** Hot water tank wrap in Commons Building

**BD15022_** Mudded fittings on piping from HW tank

**BD15022_** 2’ x 4’ suspended ceiling tile panels in Commons Building.

**BD15022_** Hot water tank wrap in small gym

**BD15022_** 12 x 12 Vinyl floor tile and adhesive

**BD15022_** Cement asbestos board

**BD15022_** Thermal system insulation on blast furnaces

* **Opportunity Program**

1917 E Isaacs

**BD15022_** Cement asbestos board on ceiling throughout

**BD10300_ District Administrative Building**

364 South Park

Built in 1985

**BD15022_** No asbestos

**BD10300_ Support Services Building**

1174 Entley Street

Built in 2011

**BD15022_** No asbestos

**BD10300_ Transportation Co-Op Building**

1162 Entley Street

Built in 2010

**BD15022_** No asbestos